ITEM NO. 13 (A-08)

1.       NAME OF SUBJECT/PROJECT

Redevelopment of Community Centre at Babar Road.

2.	NAME OF THE DEPARTMENT/DEPARTMENT CONCERNED

Civil Engineering Department (BM-PK)

3.	BRIEF HISTORY OF THE SUBJECT/PROJECT

The Community Centre at Babar Road had been constructed during 1972 by NDMC. This building is double story (ground floor and first floor)having a big hall and lobby at ground floor, Gymnasium and Library at first floor beside the Senior Citizen Centre. This is used by the residents of the area for their cultural and other functions. Since the condition of floors toilets, kitchen, stair case, and external fascia are not satisfactory, case for its renovation consequent to the visit/ inspection has been proposed on the lines of redevelopment work of Community Centre at Golf Link, JorBagh and Malcha Marg. The Resident Welfare Association of Babar Road has also requested for its renovation and improvement. Accordingly, the CA branch was requested to prepare the drawings for its improvement and renovation after inspection of said Community Centre. Thereafter the CA branch prepared the preliminary architectural drawings for the preparation of preliminary estimate. Accordingly the preliminary estimate amounting to Rs. 2,31,20,000/- was prepared and consequently the A/A & E/S accorded by Council vide its resolution No 05(A-10) dt.29.06.2011 for Rs.2,31,20,000/-

4.	DETAILED PROPOSAL ON THE SUBJECT/PROJECT:

Major items covered in the estimate are as under:

(A) Civil Works:-

- Construction of new staircases.

- Providing and fixing earthen silicon coated cladding of brick

tiles on facade.

- Aluminum windows with powder coating.

- Vitrified floor tiles, ceramic and granite wall tiles in toilets and hall.

- Granite stone flooring in corridor/lobby/staircase/toilets.

- Wooden flooring in Gymnasium.

- Stainless steel hand rail on ramp and staircase.

8.  M.S. Spiral staircase

9.  Renovation of toilets and Kitchen.

(B)  Electrical works,fire fighting system and Horticulture work

Internal  electrification. fire fighting system and  horticulture works have also been considered.

The preliminary estimate amounting to Rs.2,31,20,000/- approved by the council and A/A & E/S was accorded for the same vide council resolution no. 05(A-10) dated 29.06.2011 (Annexure-I See pages 135 - 137). Accordingly, the tenders were invited through e-tendering after completing the codal formalities. The tenders were received & opened on 22.02.2012. Two tenders were received and both were found eligible and thus financial bid of two agencies were opened, the details of tenders are as under:

| Sr. No. | Name of Agency | Tender Amount in Rs. | Percentage | Remarks |
| --- | --- | --- | --- | --- |
| 1 | M/s R.K.Jain & Sons Hospitality service Pvt Ltd | 1,55,28,611/- | 4.69% below | L1 |
| 2 | M/s India Guniting Corporation Honer (Arvinder Pal Singh) | 1,75,11,462/- | 7.46% above | L2 |

The justification has been prepared and checked by planning division as 4.35% below the estimated cost of Rs. 1,62,94,112/-. The tendered amount of lowest tenderer is Rs.1,55,28,611/- which is 4.69% below the estimated cost. The tendered amount of lowest tenderer is  0.36% below the justified cost.

5.	FINANCIAL IMPLICATIONS OF THE PROPOSED SUBJECT/PROJECT

The tendered amount is Rs. 1,55,28,611/-. The expenditure shall be charged to Budget Head of Account 412.40.0.27, S. No. 55 at page 366, budget book 2012-13 for community Centre at Babar Road.

6.      IMPLEMENTATION SCHEDULE WITH TIMELINESS FOR REACH

STAGES INCLUDING  INTERNAL PROCESSING

Twelve (12) months from the award of the work.

7.	COMMENTS OF THE FINANCE DEPARTMENT ON THE SUBJECT:

Keeping in view the information now brought on record, FD has no objection to the proposal of the deptt.  for acceptance of tender of L-1, M/s R.K Jain & Sons Hospitality Service Pvt. Ltd. at their quoted rates amounting to Rs.1,55,28,611.00 (Rupees One core fifty five lac twenty eight  thousand six hundred eleven only) i.e. 4.69% below the EC of Rs.1,62,94,112.00 against the justified rates worked out as 4.35% below the EC making the tendered amount 0.36% below the justified rates. However,  the deptt. is advised not to sign the contract/award the said work till the structural safety of the building is confirmed from the approved agencies as directed by the Council in its decision/resolution dated 26.06.2011 while approving the A/A & E/S.

8.      COMMENTS OF THE DEPARTMENT ON THE COMMENTS OF FINANCE DEPATRTMENT:

The structural stability report from M/s Jaitly Associates has been received which is annexed at Annexure II (See pages 138 - 139) herewith and states that “The building was constructed in 1970 and comprises of RCC framed structure. The health audit was done in two stages. In the first stage, a detailed physical/visual inspection was done to see any distress in the structure. Some minor cracks were noticed but these appeared to be only surface cracks in the plaster. In the second stage, NDT tests were conducted to assess the quality and grade of concrete. The tests included UPV, Rebar Location, Hammer Rebound and Core Cutting. Though the NDT test report does not indicate very high values, but considering the age of the building the NDT values do indicate average and acceptable limits. Please note that out of the 8 spots that were tested for UPV, 5 were tested with velocity ranging from 2.9 to 2.93km/sec. The range for medium or average concrete grading is 3-3.5km/sec. However, for a 12 years old structure, since all the 5 values are close to 3, it is therefore acceptable as average. It also must be mentioned that Delhi has experienced some high intensity earthquakes in the recent past but the building under consideration has not suffered any structural cracks/damage due to these earthquakes. Therefore, it can be safety concluded that the existing structure is stable/safe as per the norms laid down in the prevailing codes of practice and against natural hazards.”

In view of the above it is clear that the structural stability in safe.

9.      FINAL VIEWS OF FINANCE DEPARTMENT:

Finance Department has concurred in the proposal vide their diary no 999 /Finance/R/Civil dated 20.04.2012

10.   LEGAL IMPLICATION OF THE PROJECT/SUBJECT:

NIL

11.	DETAILS OF THE PREVIOUS COUNCIL’s RESOLUTION,  EXISTING LAWS OF  PARLIAMENT AND ASSEMBLY ON THIS SUBJECT:

Administrative approval and expenditure sanction accorded by the Council 	vide Resolution no. 05(A-10) dated 26.06.2011 for Rs. 2,31,20,000/-.

12.   COMMENTS OF THE LAW DEPARTMENT ON THE SUBJECT/PRJECT:

NIL

13.   COMMENTS OF THE DEPATMENT ON THE COMMENTS OF LAW  DEPARTMENT:

NIL

14.    FINAL VIEWS OF LAW DEPATMENT (WHEREVER NECESSARY):

NIL

15. 	CERTIFICATION BY THE DEPARTNEMENT THAT ALL CVC

GUIDELINES HAD BEEN FOLLOWED, WHILE PROCESSING THE CASE:

Certified that CVC guidelines have been followed while processing the case.

16. 	RECOMMENDATIONS:

The case is placed before the council for acceptance of the lowest offer of M/s R.K. Jain & Sons Hospitality Service Pvt. Ltd. With tendered amount of Rs. 1,55,28,611/- for the work; “Redevelopment of Community Centre at Babar Road” which is 4.69% below the estimated cost of Rs.1,62,94,112/-. The tendered amount by the lowest tenderer is 0.36% below the justified cost. Permission may also be given for taking further action in anticipation of the confirmation of the minutes of the council.

17. 	DRAFT RESOLUTION:

Resolved by the council that the work of “Redevelopment of Community Centre at Babar Road” be awarded to the lowest tenderer M/S R.K. Jain & Sons Hospitality Service Pvt. Ltd. at their tendered amount of Rs.1,55,28,611/- (Rupees One crore fifty five lacs twenty eight thousands six hundred eleven only) which is 4.69% below the estimate cost of Rs.1,62,94,112/- and 0.36% below the justified cost. Permission is also granted for taking further action in anticipation of confirmation of the minutes of the council.

COUNCIL DECISION

Resolved by the Council that the work of “Redevelopment of Community Centre at Babar Road” be awarded to the lowest tenderer M/S R.K. Jain & Sons Hospitality Service Pvt. Ltd. at their tendered amount of `.1,55,28,611/-  which is 4.69% below the estimate cost of Rs.1,62,94,112/- and 0.36% below the justified cost.

It was also resolved by the Council that further action may be taken by the Department in anticipation of confirmation of the minutes by the Council.

ANNEXURE -I

ITEM NO. 05 (A-10)/29.06.2011

1.     	NAME OF SUBJECT:

Redevelopment of Community Centre at Babar Road.

2.	NAME OF THE DEPARTMENT:

Civil Engineering Department (BM-PK)

3.	BRIEF HISTORY OF THE PROJECT:

The Community Centre at Babar Road had been constructed during 1972 by NDMC. This building is double storey (ground floor and first floor)having a big hall and lobby at ground floor, Gymnasium and Library at first floor beside the Senior Citizen Centre. This is used by the residents of the area for their cultural and other functions. Since the condition of floors toilet and kitchen, stair case, external fascia are not satisfactory, case for its renovation consequent to the visit/ inspection of Secretary has been proposed on the lines of redevelopment work of Community Centre at Golf Link, Jor Bagh and Malcha Marg. The Resident Welfare Association of Babar Road has also demanded for its renovation and improvement. Accordingly the CA branch was requested to prepare the drawings for its improvement and renovation after inspection of said Community Centre. Thereafter the CA branch prepared the preliminary architectural drawings and issued for the preparation of preliminary estimate. Accordingly the preliminary estimate amounting to Rs. 2,31,20,000/- has been prepared on the basis of DSR 2007 inclusive of 49 % cost index and 3 % contingencies.

4.	DETAILED PROPOSAL OF THE PROJECT:

Major items covered in the estimate are as under:

(A) Civil Works:-

- Construction of new staircases.

- Provision of new lift.

- Providing and fixing earthen silicon coated cladding of brick tiles on facade.

- Aluminium windows with powder coating.

- Vitrified floor tiles, ceramic and granite wall tiles in toilets and hall.

- Granite stone flooring in corridor/lobby/staircase/toilets.

- Wooden flooring in Gymnasium.

- Stainless steel hand rail on ramp and staircase.

- M.S. Spiral staircase.

- Renovation of toilets and Kitchen.

(B)  Electrical works: -

(a) Internal electrification.

(b) Passenger lift: capacity 8 persons.

Besides above fire fighting system and  horticulture work have also been considered.

5.	FINANCIAL IMPLICATIONS OF THE PROPOSED SUBJECT:

Accordingly, Preliminary Estimate is framed on the basis of DSR 2007 +  	49% cost index amounting to Rs. 2,31,20,000/- which comprises of following works:-

(A) 	Civil works					-	Rs.  1, 71, 98,530/-

(B)	Electric works with Fire fighting & Horticulture-	Rs.     53, 05,285/-

(C)	Contingencies & credit amount         	-	Rs.       6, 16,185/-

---------------------

Total 	Rs.  2, 31, 20,000/-

---------------

6.	IMPLEMENTATION SCHDULE WITH AND TIME LINES:

Twelve (12) months from the award of the work.

7.	COMMENTS OF THE FINANCE DEPARTMENT ON THE SUBJECT:

Finance has concurred the case vide diary No.FA-1190/R-CE(C) dated 22.06.2011 with certain observations. Reply to the observations are  recorded on the file and agenda has been seen by Finance Department.

8.   	Comments of the department on the comments of Finance Department.

No comments in view of Finance Deptt comments .

9.     	LEGAL IMPLICATION OF THE PROJECT/SUBJECT:

NIL

10  	Details of the Previous Council’s Resolution, existing laws of Parliament and Assembly on this subject:

NIL.

11. 	Comments of the law Department on this Subject:

NIL

12. 	Comments of the department on the comments of Law 	Department:

NIL

13. 	Certification by the Department that all CVC guidelines had been 	followed, while processing the case:

Certified that CVC guidelines have been followed while processing the case.

14. 	Recommendations:

The case is placed before the Council to accord administrative approval and expenditure sanction to the estimate amounting to Rs. 2,31,20,000/- for the work Redevelopment of Community Centre at Babar Road. Permission be also accorded to take further action in anticipation of confirmation of minutes of Council.

15. 	Draft Resolution:

Resolved by the Council that A/A & E/S is accorded to the estimate amounting to Rs. 2, 31, 20,000/- for the work Re-development of Community Centre at Babar Road. Permission is also accorded to take further action in anticipation of confirmation of minutes of Council.

COUNCIL DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the estimate amounting to Rs.2,31,20,000/- for the work of “Re-development of Community Centre at Babar Road” subject to confirmation of Structural Safety of the building by the department from the approved agencies before undertaking the proposed work.

It was also resolved that further action may be taken by the Department in anticipation of confirmation of the minutes by the Council.