ITEM NO. 03 (B-04)

- Name of Work:-

Estimate for Replacement of 33KV Outdoor Switchgear with Indoor GIS System at S/S Tilak Marg

- Department:-  ELECTRICITY DEPARTMENT

- Brief History of The Proposals :-

Presently there are 4 Nos. outdoor type Bulk oil circuit breakers, 2 Nos. VT’s & 12 Nos. 3-phase off-load isolators at ESS Tilak Lane which have served their useful life and need to be replaced with 33KV GIS. Further, Incoming cables from I.P. Grid, Exhibition Ground, inter-connector from Sub-station Tilak Lane to Sub-station Nirman Bhawan and Bus Coupler do not have any breakers which are essentially required for protection of 33KV system for the meant of protection. The redundancy in the system has been considerably reduced. Now since we have very compact GIS indoor type switchgears available at 33KV level, which will not only totally eliminate the existing outdoor switchgears, which are now obsolete and more susceptible to breakdowns, from our system but also replace them with the latest type of switchgear which is practically free of maintenance and breakdowns thereby further improving the reliability of power supply in NDMC area. It will be appropriate to replace these existing outdoor switchgears with indoor switchgears. The Chairman, NDMC has approved in principal the proposal for replacement of outdoor 33 KV Switchyard with indoor GIS System.

- Detailed Proposal On The Project:-

The proposal is made to improve the reliability of power supply in adjoining area by providing latest technology equipment which is almost maintenance free  thereby further improving the reliability of power supply in NDMC area following is being proposed.

(i) 	33KV GIS board comprising of 7 panels with its C&R Board at ESS  Tilak Marg comprising of (I/C-2Nos+O/G-2Nos+B/C-1Nos.+Interconnector - 2Nos.)	1Bd.

(ii) Construction of double storey building to accommodate GIS system.

- Financial Implications:-

Rs. 308.27 Lacs including 3% contingencies. The expenditure shall be chargeable to the Head of A/c E-3 under the Replacement works for which a budget provision of Rs. 1 Crore has been kept in BE 2011-12 and shall suitably revised in RE 2011-12.

- Implementation schedule with timeline for each stage including internal processing:-

The scheme will be executed within 18 months &shall be executed through call of tender and partially by department.

- Comments of the Finance Department on the subject:-

The Finance Deptt, has concurred the estimate vide diary No. 654/Finance /R- Elect.  Dated 13.04.11 with no further comments.

- Comments of the Department on comments of Finance Deptt:-

Nil

- Legal implications of the Project: -

Nil

- Details of Previous Council Resolution:-

Nil

- Comments of the Law Deptt. on the Project:-

No legal issues

- Comments of the Deptt. on the Law Deptt:-

Nil

- Certificate on CVC Guidelines:-

Certified that all CVC guidelines on the subject have been followed/will be follwed while processing and implementing the case/project.

- Recommendation:-

The estimate amounting to Rs 308.27 Lacs for Replacement of 33KV outdoor switchgear with indoor GIS system at S/S Tilak Marg may be placed before the Council to accord Administrative Approval and Expenditure Sanction.

- Draft Resolution:-

Resolved by the Council that Administrative Approval & Expenditure Sanction is granted to the estimate amounting to Rs 308.27 Lacs for Replacement of 33KV outdoor switchgear with indoor GIS system at S/S Tilak Marg. Further, approval is accorded to take action in anticipation to confirmation of the Minutes of Council Meeting.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the estimate amounting to Rs.308.27 Lacs for Replacement of 33KV outdoor switchgear with indoor GIS system at S/S Tilak Marg.

It was also resolved that further action may be taken by the Department in anticipation of confirmation of the minutes by the Council.