ITEM NO. 05 (B-04)

1.	Name of work:-	Providing LED based Post Top Lantern Lights in Talkatora Garden.

2.	Department: - Electricity Department.

3.	Brief history of the proposal:-

Talkatora Garden is situated between Talkartora road & park street road area. Senior Government officers/people living in adjoining area VIPs, regularly visit it for morning/evening walk for their fitness exercise. A number of complaints have been received from the senior citizen/government officers to improve lighting in the garden.

Presently there are 52 nos. Post top lantern fittings with HPSV fitting 250 watt for walk way of 3500 meters. The distance between existing lighting poles is 40-50 mtrs. The existing lighting is inadequate, lux level is very poor and some of area has dark patches. The existing load lighting system has served its prescribed life and is giving frequent trouble.

4.	Detailed proposal of the subject:-

Keeping in the view the energy conservation measure, recommendation of MNRE/ Delhi Govt. and considering modern state of art and environment friendly LED based post top lantern light fittings of 20-24 watt has been proposed to be used in the garden and to be fixed along complete walk way of Talkatora Garden. Total 180 nos. LED based light fittings mounted on the 4.0 mtrs height decorative steel tubular pole has been proposed. The finance deptt. have concurred into the proposal.

- Financial Implications:-

Rs.1,43,90,000/- (Rupees One crore forty three lacs ninety thousand only).

- Implementation schedule: - Completion within 04 months.

- Comments of Finance Deptt:-

Finance has seen and concurred the preliminary estimate vide diary no. 704 dated 05.04.2010 with no further comments.

- Comments of the department on the comments of Finance Deptt:-

-Nil-

- Legal implication of the subject: - No legal implication is involved.

- Detail of previous Council Resolution:-  -Nil-

- Comments of Law Deptt.:-  -Nil-

- Comments of the deptt. on the comments of Law Deptt:-  -Nil-

- Certification by the deptt. that all Central Vigilance Commission guidelines have been followed:-

All CVC guidelines have been followed while processing the case.

- Recommendations:-

The preliminary estimate amounting to Rs.1,43,90,000/- for the work  “Providing LED based Post Top Lantern Lights in Talkatora Garden” may be placed before the Council to accord A/A & E/S. Since the work is of urgent nature, approval may also be solicited to take further action in anticipation of confirmation of the minutes of Council meeting.

- Draft Resolution:-

Resolved by the Council that A/A & E/S is granted to the preliminary estimate amounting to Rs.1,43,90,000/- for the work “Providing LED based Post Top Lantern Lights in Talkatora Garden”. Further approval is accorded to take action in anticipation to confirmation of the minutes of Council meeting.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the preliminary estimate amounting to Rs.1,43,90,000/- for the work “Providing LED based Post Top Lantern Lights in Talkatora Garden”.

It was also resolved to constitute a sub-committee comprising of CE (E-I), Sh. R.R. Singh, Sh.A.K. Joshi, SE(E-I) and Sh. V.K. Pandey, SE(E-III) which will conduct a survey of the 52 existing electric poles to be dismantled and submit its recommendation regarding further reuse of these poles & fittings.