ITEM NO. 10 (B-14)

1. 	NAME OF WORK:  Estimate for the purchase of 02 Nos. 16/20 MVA, 33/11 KV power transformers.

2. 	NAME OF THE DEPARTMENT:  ELECTRICITY DEPARTMENT

3.  	BREIF HISTORY OF THE SUBJECT:

An estimate amounting to Rs. 3,57,81,854/-(G) & Rs. 3,53,33,518/- (N)  has been framed for purchasing 02 Nos. 16/20 MVA, 33/11 KV power transformers against the Depreciation Reserve Fund under the Budget Head E-3.

- DETAILED PROPOSAL ON THE SUBJECT:

The estimate was noted to the council vide item No. 13(B-08) dt- 16.06.2010 and it was deferred with the direction that the department will resubmit the case in the next meeting of the council with more background details including copies of earlier resolutions passed by the council on this matter.

As directed the case is resubmitted with more background details including copies of earlier resolutions passed by the council on this matter.

Council vide Resolution No.33 (B-29) dt.17-10-07 (copy placed at Annexure ‘A’( See pages 64 - 66 ) accorded the concept in principle approval to initiate purchase cases for entire material as per assessment of the specially constituted committee amounting to a total cost of Rs.223 Crore including 40 Crore already approved by the Council vide Resolution No.17 (B-29) dt.19-09-2007 to short cut the time and making the material available for proper utilization against various sanctioned estimates. Normal purchase procedure shall be followed and cases as required will be sent to Finance for their concurrence before placing supply orders with the approval of the competent authority, Accordingly, procurement action had been initiated for the purchase of the 7 Nos. 33/11KV power transformers.

Council vide Resolution No.13 (B-1) dt. 28.04.08 (copy placed at Annexure ‘B’ (See pages 67 - 70) accorded approval for purchase of 6 Nos. 33/11KV power transformers against stock ceiling.

All the six power transformers have been installed & commissioned in the system as per requirement.

Estimate for replacement of 4 Nos. 33/11 KV power transformer had already been sanctioned and expenditure charged to the respective schemes.

Lately  2 nos. power transformers one each at ESS DDB Mandi House and Bapu Dham become defective. They had already worked for their prescribed life of 25 year and on examination, were found to be beyond economical repairs. Reserve price has been fixed by the condemnation Sub-Committee & the proposal has been concurred by the Finance. These unserviceable transformers shall be auctioned through MSTC after due process and approval. Two available power transformers have been installed & commissioned one each at 33KV ESS Bapu Dham & 33 KV ESS Mandi House.

The estimate has been prepared so that expenditure of 2 nos. power transformers installed at ESS DDB Mandi House and ESS Bapu Dham can be charged to the Depreciation Reserve Fund under the Budget Head E-3.

- FINANCIAL IMPLICATION OF PROPOSED SCHEME: Rs. 3,57,81,854/-(G) &

Rs. 3, 53, 33,518/- (N).

6.	IMPLEMENATION SCHEDULE:

The estimate has been prepared so that expenditure of 2 nos. power transformers installed at ESS DDB Mandi House and ESS Bapu Dham can be charged to the Depreciation Reserve Fund under the Budget Head E-3.

7.	COMMENTS OF FINANCE:

The Finance has concurred in the estimate vide Dairy No. 858/Fin./R-E dated 07.05.2010.

8.	COMMENTS OF DEPARTMENT ON COMMENTS OF FINANCE:

No Comments

9.	LEGAL IMPLICATIONS:

No legal implications involved.

10.	DETAILS OF PREVIOUS COUNCIL’s RESOLUTION :Item No.33 (B-29) dt17.10.2007 &Item No. 13 (B-1) dt-28.04.2008

11.	COMMENTS OF LAW DEPARTMENT:		NIL

12.	COMMENTS OF DEPARTMENT ON COMMENTS OF LAW DEPARTMENT:	NIL

13.	CERTIFICATION BY THE DEPARTMENT ALL CENTRAL VIGILANCE COMMISSION (CVC) GUIDELINES HAVE BEEN FOLLOWED WHILE PROCESSING THE CASE:

All CVC guidelines have been followed while processing the case.

14.	RECOMMENDATIONS OF THE DEPARTMENT:

The estimate may be noted to the Council for according administrative approval and expenditure sanction to the estimate amounting Rs. 3,57,81,854/-(G) & Rs. 3,53,33,518/- (N)  for purchase of 02 no. 16/20 MVA, 33/11 KV power transformers against the Depreciation Reserve Fund under the Budget Head E-3. Approval may also please be accorded to take further action in anticipation to the confirmation of minutes of the Council Meeting.

15.	DRAFT RESOLUTION :

Resolved by the Council that Administrative approval and Expenditure sanction is accorded to the estimate amounting to Rs.3,57,81,854/-(G) & Rs.3,53,33,518/- (N) for the purchase of 02 no. 16/20 MVA, 33/11 KV power transformers against the Depreciation Reserve Fund under the Budget Head E-3. Approval is also accorded to take further action in anticipation to the confirmation of minutes of the Council Meeting.

COUNCIL’S DECISION

Resolved by the Council by majority, to accord administrative approval and expenditure sanction to the estimate amounting to Rs.3,57,81,854/-(G) & Rs.3,53,33,518/- (N) for the purchase of 02 no. 16/20 MVA, 33/11 KV power transformers against the Depreciation Reserve Fund under the Budget Head E-3.

It was resolved by the Council that the Financial Advisor and the Chief Auditor will examine the current process of accounting system and suggest measures to simplify the procedural requirements.

It was also resolved that further action may be taken by the Department in anticipation of confirmation of the Minutes by the Council