ITEM NO. 40 (B-21)

1.	Name of Work: Purchase of Distribution Transformers 1000KVA Dry Type (Cast Resin) 10.5/0.415 KV.

2.	Department 	: 	ELECTRICITY DEPARTMENT

3.	Brief History of the Proposal:

A case for purchase of 57 Nos. Distribution Transformers 1000KVA Dry Type (Cast Resin) 10.5/0.415 KV was processed against the various sanctioned estimates duly approved by council vide Reso. No.31 (B-23) dt.17.12.08, 21(B-21) dt. 17.12.08 & 12(B-09) dt.17.06.09 and D.C works in compliance to DERC  guidelines for replacement of oil type of transformers with dry type transformers in NDMC. Tenders were invited through e-procurement system.

4. 	Detailed Proposal of the Subject:

Sealed tenders were invited in three cover system from the manufacturers only through e-procurement system for the purchase of 57 Nos. Distribution Transformers 1000KVA Dry Type (Cast Resin) 10.5/0.415 KV by giving due publicity to the tender as per the codal  provisions. In response to the Tender Enquiry, offers of the following two firms were received on due date of opening i.e.27.07.09.

- M/S Voltamp Transformers Ltd.

- M/S Ames Impex Electricals Pvt. Ltd.

The offers of the above firms were scrutinized and subsequently examined by the planning division The offers of both the firms  found in order with respect to terms, conditions & technical specifications of NIT. With the prior of approval of CEE-II dt.31.08.09 the price bids of the both the eligible firms were opened on 02.09.09.

Based on the computed cost of the each tendering firm, capitalized cost has been worked out to evaluate the position of lowest tendering firm as per the provision in the NIT. M/s. Ames Impex Electricals Pvt. Ltd. has emerged as a lowest tendering firm with their quoted basic rate Rs.8,73,000.00 (Ex works) plus Excise duty @ 8.24%, CST @ 2%, Freight Rs.15,000.00 per transformer & Insurance Rs. 1,310.00 per transformer. The computed unit price of transformer has been worked out to Rs.9,80,143.904. The total computed cost for the purchase of 57 No. transformer has been worked out to Rs.5,58,68,202.52, which is 37.16% below the estimated cost put to the tender.

The rates of the lowest tendering firm are 25.3% & 26.6% below the justified rates based on the orders of Store-II Divistion & M/s. New Power House Industrial Area Phase-I U.T. Chandigarh respectively.

The case was again examined by the Planning and subsequently concurred by Finance on 24.09.09 for the above purchase.

5.	Financial Implications:

Rs. 5,58,68,202.52/- (Rs. Five crore fifty eight lacs sixty eight thousand two hundred & two & fifty two paise only)  , inclusive of all prevalent taxes, duties, freight, insurance, packing & handling.

6.        Implementation Schedule:

Delivery of material, Commencing with 17 Nos. within two months and completion @ 10 Nos. per month thereafter and completion in six months from the date of approval of drawings to be submitted with in 15 days from the date of issue of supply order.

- Comments of the Finance Department :

Finance vide diary No.2123/dt.24.09.09 has seen and concurred with no comments.

8.	Comments of the Department on comments of Finance Deptt. :	N/A

9.	Legal Implication of the Subject: 		Nil

10.	Details of previous Council Resolution:	Nil

11.	Comments of Law Department: 		Nil

12.	Comments of the department on the comments of Law Department:	N/A

13.	Certification by the Department:

All Central Vigilance Commission (CVC) guidelines have been followed.

14.	Recommendations of the Department:

The case may be placed before the Council for the purchase of 57Nos. Distribution Transformers 1000KVA Dry Type (Cast Resin) 10.5/0.415 KV from the lowest tendering firm M/s. Ames Impex Electricals Pvt. Ltd. with their quoted unit rate of Rs.8,73,000.00 (Ex works) and at the total computed cost of Rs.5,58,68,202.52 ( inclusive of all taxes ,duties , Freight & Insurance) on the terms, conditions and specifications of NIT. Since the material requirement is of urgent nature, approval may also be accorded to place Supply Order on the firm in anticipation of the confirmation of the minutes of the Council meeting.

15.	Draft Resolution:

Resolved by the Council that the approval is accorded to the purchase of 57Nos. Distribution Transformers 1000KVA Dry Type (Cast Resin) 10.5/0.415 KV from lowest tendering firm M/s. Ames Impex Electricals Pvt. Ltd. with their quoted unit rate of Rs.8,73,000.00 (Ex works) and at the total computed cost of Rs.5,58,68,202.52 ( inclusive of all taxes ,duties , Freight & Insurance) on the terms, conditions and specifications of NIT. Approval is also accorded to place Supply Order on the firm in anticipation of the confirmation of the minutes of the Council meeting.

COUNCIL’S DECISION

Resolved by the Council to accord A/A & E/S for the purchase of 57Nos. Distribution Transformers of 1000 KVA Dry Type (Cast Resin) 10.5/0.415 KV from the lowest tendering firm M/s. Ames Impex Electricals Pvt. Ltd. with their quoted unit rate of Rs.8,73,000.00 (Ex works) and at the total computed cost of Rs.5,58,68,202.52 ( inclusive of all taxes, duties , Freight & Insurance) on the terms, conditions and specifications of NIT.

It was also directed that the Department shall provide the distribution list of transformers as well as a comparative statement of received tenders to the Members for their perusal.

It was also resolved that further action in the matter be taken in anticipation of confirmation of the minutes by the Council.