ITEM NO. 02 (B-01)

- Name of Subject / Project:-

Laying of 33KV, 3Cx 400sq.mm (XLPE) cables from 220KV/33KV ESS Trauma Centre to 33KV ESS Race Course & from 33KV ESS Trauma Centre to 33KV ESS State Guest House

- Name of the Department/Departments concerned:-

ELECTRICITY DEPARTMENT

- Brief History of the Subject/Project:-

The Electric Sub-Station 220KV/33KV at Trauma centre with transformation capacity 200 MVA (2x100 MVA) has been established by M/S DTL. In order to provide system reliability and strengthening of existing 33KV ESS in NDMC area, it has been proposed to provide various feeders of 3C x 400sq.mm for utilization of transformation capacity of the 220KV/33KV ESS. There is a scheme of 16 feeders emanating from 220KV/33KV ESS Trauma centre for NDMC, out of which estimate for 12 feeders have already been framed and approved by council., As there is no spare panel at 33KV ESS State Guest House to terminate the proposed feeder; therefore proposal for one additional panel has been kept. For a short term arrangement, one out of 7 panels of same make (meant for 33KV ESS Aliganj Jorbagh) are laying spares with C-VI division may be installed at the ESS state Guest House in order to maintain the continuity of power supply. Thereafter as panel would be procured by the Deptt same shall be installed at 33KV ESS Aliganj Jorbagh for which provision of 7 Nos. panels board has been kept.

It is proposed that 33KV cable between 33KV ESS SGH & 33KV ESS Trauma Centre may be laid to provide duplicate feed at Trauma Center and another feed from 220KV/33KV ESS Trauma Centre to 33KV ESS Race Course.

.

- Detailed Proposal on the Subject/Project:-

In order to keep the system healthy and providing smooth & reliable operation, along with optimum utilization of electrical power following are being proposed.

- 33KV, 3CX400Sq.mm, XLPE Cable from 220KV/33KV ESS Trauma Centre to 33KV ESS Race Course …..………...... ………………... = 5.5Km

- 33KV, 3CX400Sq.mm , XLPE Cable from 33kV ESS Trauma Centre to 33KV ESS State Guest House………………………………………..= 3.8Km

- 33KV SF6 panel with its accessories i/c its C&R ……..…………..….= 1 No.

- Financial Implications of the proposed Project/Subject:-

Rs. 281.45 Lacs including 3% contingencies. The expenditure shall be charged to the Budget Head Chart of A/C 81/209/410/70 for which a budget provision of Rs. 5 Lacs has been kept in RE-2011-12 and subsequently in BE 2012-13.

- Implementation schedule with timeliness for each stage including internal processing:

The scheme will be executed within 18 months & shall be executed through call of tender and partially by department.

- Comments of the Finance Department on the subject:-

The Finance Deptt has concurred the estimate vide diary No. 310/Finance/R-Elect. Dt. 21.02.12

- Comments of the Department on comments of Finance Deptt:-

Nil

- Final views of Finance Department:-

Nil

- Legal implication of the Subject/Project: -

No legal implication in involve.

- Details of Previous Council Resolutions, existing law of Parliament and Assembly on the subject:-

Nil

- Comments of the Department on the comments of Law Deptt:-

Nil

- Final view of Law Deptt [wherever necessary]:-

Nil

- Certificate that all Central Vigilance Commission’s guidelines have been followed while processing the case:-

Certified that all CVC guidelines on the subject have been followed while processing & implementing the case.

- Recommendation:-

The estimate amounting to Rs 281.45 Lacs for laying of 3CX400sq.mm XLPE from 220KV/33KV ESS Trauma Centre to 33KV ESS Race Course and from 33KV ESS Trauma Centre to 33KV ESS State Guest House may be placed before the Council to accord Administrative Approval and Expenditure Sanction.

- Draft Resolution:-

Resolved by the Council that Administrative Approval & Expenditure Sanction is granted to the estimate amounting to Rs 281.45 Lacs for laying of 3CX400sq.mm XLPE from 220KV/33KV ESS Trauma Centre to 33KV ESS Race Course and from 33KV ESS Trauma Centre to 33KV ESS State Guest House.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the estimate amounting to `.281.45 Lacs for laying of 3CX400sq.mm XLPE from 220KV/33KV ESS Trauma Centre to 33KV ESS Race Course and from 33KV ESS Trauma Centre to 33KV ESS State Guest House.