ITEM NO. 12 (B-07)

(1) Name of the work :	Re-arrangement and new proposed HT feeds for various  11 KV Electric Substations from proposed 33 KV Electric Substation Raja Bazar, New Delhi.

(2) Name of the Department  :  Electricity

(3) Brief History of the case :

NDMC has awarded the work of establishing various 33 & 66 KV Sub-stations at various locations to M/s PGCIL.  The work at one of these Sub-stations namely; Sub-station 33 KV Raja Bazar is on the verge of completion.  To utilize the transformer capacity being installed there, some 11 KV feeders have been proposed to be emanated from this Sub-station after consultation with E.E.(M/N) and S.E.(E-V) and   Advisor (Power).

(4)  Detailed proposal on the Project :

- 2 x 400 sq.mm 11 KV XLPE cable has been proposed from 33 KV Sub-station Raja Bazar to proposed 33 KV Sub-station Church Road.

- 1 x 400 sq.mm 11 KV XLPE cable has been proposed from 33 KV Sub-station Raja Bazar to Sub-station Palika Place.

- 1 x 400 sq.mm 11 KV XLPE cable has been proposed from 33 KV Sub-station Raja Bazar to Sub-station District Centre (after disconnecting existing HT cable).

- 1 x 400 sq.mm 11 KV XLPE cable has been proposed from 33 KV Sub-station Raja Bazar to Sub-station Connaught Place  (after disconnecting existing HT cable).

- 1 x 400 sq.mm 11 KV XLPE cable has been proposed from 33 KV Sub-station Raja Bazar to Sub-station B.K.S. Marg II  (after disconnecting existing HT cable).

- 1 x 400 sq.mm 11 KV XLPE cable has been proposed from 33 KV Sub-station Raja Bazar to Sub-station Kalawati Saran Hospital(SCH)  (after disconnecting existing HT cable).

- 1 x 400 sq.mm 11 KV XLPE cable has been proposed from 33 KV Sub-station Raja Bazar to Sub-station Baird Lane.

This arrangement has been made to strengthen the existing 11 KV Electric Substations as well as to give relief  to existing 33 KV Sub-stations i.e. Baird Lane, Hanuman Lane and Connaught Place.  Existing cable from Connaught Place Sub-station to District Centre Sub-station and from B.K.S. Marg II to Sub-station Kalawati Saran Hospital(SCH) cannot be dismantled economically.

(5)	Financial implications : Financial implications in the proposal is anticipated to be Rs.2,46,03,000/-.

(6)	Implementation schedule: 10 months

(7)	Comments of the Finance Deptt. on the subject :

Finance Deptt. vide Dy. No. 1145/PS/FA/D-10 dated 28-5-10  have concurred in the estimate with no further comments.

(8)	Comments of the Deptt. on the Comments of the Finance  Deptt. : 	NIL

(9)	Legal implication of the Project : - No legal implication is involved.

(10)	Details of previous Council Resolution :	NIL

(11)	Comments of  Law Deptt. :  	NIL

(12)	Comments of the Deptt. on the comments of Law Deptt. :  NIL

(13)	Certification by the Deptt. that all Central Vigilance Commission (CVC) guidelines have been followed : It is certified that all Central Vigilance Commission (CVC) guidelines have been followed in processing the case.

(14)	Recommendation  : The estimate amounting to Rs.2,46,03,000/- for Re-arrangement and new proposed HT feeds for various  11 KV Electric Substations from proposed 33 KV Electric Substation Raja Bazar, New Delhi may be placed before the Council to accord administrative approval and expenditure sanction.  Approval may also be accorded  to take further action in anticipation to confirmation of the Minutes of Council Meeting.

(15)	Draft Resolution : Resolved by the Council that Administrative approval and expenditure sanction is granted to the estimate amounting to Rs.2,46,03,000/- for Re-arrangement and new proposed HT feeds for various  11 KV Electric Substations from proposed 33 KV Electric Substation Raja Bazar, New Delhi.  Approval is also  accorded  to take further action in anticipation to confirmation of the Minutes of Council Meeting.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the estimate amounting to Rs.2,46,03,000/- for Re-arrangement and new proposed HT feeds for various  11 KV Electric Substations from proposed 33 KV Electric Substation Raja Bazar, New Delhi.

It was also resolved that further action may be taken by the Department in anticipation of confirmation of the Minutes by the Council.