ITEM NO. 11 (B-38)

- Name of project :

Improvement of LT Rising Mains at Lok Nayak Bhawan, New Delhi.

Sub-head : Supply, Installation, Testing and Commissioning of TPN Sandwitch

Rising main of Aluminium 1200 Amp Bus Bar.

- Name of Department concerned:

Electricity Department.

- Brief History of the project:

Frequent power disruption in Lok Nayak Bhawan were observed and the issue was taken up at very senior level to take remedial steps with adequate arrangement of power supply system to avoid such frequent power disruption. A meeting was held on 27.09.2009 in the chamber of Home Secretary and Chief Engineer (Elect.) of NDMC & CPWD were deputed to inspect the site and submit a joint inspection report. Both Chief Engineers carried out the joint inspection of Lok Nayak Bhawan on 27.07.2009 and suggested some measures to be taken for upgradation of complete distribution system in Lok Nayak Bhawan. It was suggested that additional rising main of 800 Amp. Capacity in each Wing may be provided if there are space constraint, then single rising mains of higher capacity may be provided. Another meeting was also held on 11.08.2009 in the chamber of Home Secretary to review the progress of measures to be taken about various issues including power supply arrangement.

Accordingly the estimate for upgradation of complete LT distributions Network in Lok Nayak Bhawan was got sanctioned.

- Detailed proposal on the project and scope of work:

Tenders were invited through e-Procurement for the work of Improvement of LT Rising Mains at Lok Nayak Bhawan, New Delhi.On first call of tenders, single eligible tender offer was received and rejected. On second call of tenders, five firms responded. All the firms were found eligible as per NIT. Price bids of above firms were opened &  position emerged as below :

| S.No | Name of firm | Tendered cost | Remarks |
| --- | --- | --- | --- |
| 1. | M/s Bhardwaj Brothers | 1,19,52,000/- | IInd Lowest |
| 2. | M/s Disha Electronics | 1,28,75,000/- | IIIrd Lowest |
| 3. | M/s Kapila Engineers | 1,34,60,000/- | Vth Lowest |
| 4. | M/s Rajan D.S. Buildtech Pvt. Ltd. | 1,30,10,000/- | IVth Lowest |
| 5. | M/s Shiv Electric | 1,13,16,000/- | Ist Lowest |

M/s Shiv Electric emerged the lowest tenderer.  The firm also subsequently offered Voluntary discount @ 1% & the discounted offer of the firm amounts to Rs.1,12,02,840.00 which is 4.63% above the justified rates & 17.78 % above the estimated cost put to NIT. The case duly checked by planning, has been concurred by Finance.

- Financial Implication:

Rs.1,12,02,840.00 (Rs. One Crore twelve lacs two thousand eight hundred forty only)

- Implementation Schedule :

Six Months

- Comments of Finance Department:

The Finance department has concurred the case on 15.03.2010 and seen by F.A.     with no  further  comments.       .

- Comments of the Department on the comments of Finance Department :  Nil

- Legal implication :  Nil

- Details of previous Council Resolution , existing law of Parliament  and assembly on the subject.		Nil

- Comments of the Law Department : Nil

- Comments of the Department on the comments of Law Department : Nil

- Certified that all CVC’s guidelines have been followed while processing the case.

- Recommendations:

The case may be placed before the Council for approval to award the work of Improvement of LT Rising Mains at Lok Nayak Bhawan to  the lowest tendered i.e. M/s Shiv Electrics at their quoted rates of Rs. 1,12,02,840.00. Since the work is of urgent nature & is to be completed before peak summer, approval is solicited to issue work order anticipation to the confirmation of the minutes of Council meeting.

15. Draft Resolution

Resolved by the Council that approval is accorded  to award the work of Improvement of LT Rising Mains at Lok Nayak Bhawan to  the lowest tendered i.e. M/s Shiv Electrics at their quoted rates of Rs.1,12,02,840.00. Approval is accorded to issue work order in anticipation to the confirmation of minutes of Council meeting.

COUNCIL’S DECISION

Resolved by the Council to accord approval to award the work to the lowest tenderer i.e. M/s Shiv Electrics of Improvement, at their quoted rates of Rs.1,12,02,840/- for the work of LT Rising Mains at Lok Nayak Bhawan.

It was also resolved that further action may be taken by the Department in anticipation of confirmation of the Minutes by the Council.