ITEM NO. 12 (B-29)

(1) Name of the work :	Construction of 11KV Electric Switching station  near Veeranwali Hospital, Chander Gupta Road,  Chanakyapuri, New Delhi

(2) Name of the Department  :  Electricity

(3) Brief History of the case :

Chairperson NDMC had written a letter dated 1-2-2001 to Minister of Urban Development. Govt. of India for allotment of 81sites for 220 KV, 66KV, 33KV & 11KV voltage levels for installation of Electric Substations at various places in NDMC area. A large number of new buildings are coming up for diplomatic missions and international organization, spurt in constructional activates upgradation of markets and government colonies, hospitals as well as enhancement of air conditioning load in the existing buildings in NDMC area.  Therefore, more Sub-stations are required to be constructed in the area.

(4)  Detailed proposal on the Project :

A plot for establishing an Electric 11KV Switching station near Veeranwali Hospital, Chander Gupta Road, Chanakyapuri has been allotted by L & DO. The drawing of the same has also been prepared by C.A., NDMC. The plot is located near the various Diplomatic Missions and institutions. Recently some new buildings like; Embassy of Palestine, Embassy of Tanzania, Vivekananda Kendra, Afro- Asian organization, Kathak Dance Kendra etc. have already been built. Some more buildings like; Embassy of Saudi Arabia, expansion of Thailand Embassy etc. are likely to come up soon. Presently there is no other Sub-station in the vicinity of these Intuitions/Embassies to feed power supply to them. Beside this the other existing Sub-stations in Chanakyapuri like; Nehru Park, Bapu Dham, S.P. Marg are generally over loaded. These are to be given relief by shifting some feeders to the proposed Sub-station.

The HT feeders for Tanzania High Commission, Vivekananda Kendra, Embassy of Palestine have already been proposed to emanate from this proposed Sub-Station at Veeranwali.

DESIGN & SCOPE

Switching station shall have provision for 1 no. panel board having 12 panels DBB and following incomers are proposed:

- 2 x 400 sqmm. 11 KV XLPE cable has been proposed from Sub-station Bapu Dham as incomer,

- 2 x 400 sqmm. 11 KV XLPE cable has been proposed from 66 KV Sub-station State Guest House as incomer.

1000 KVA oil type transformer dismantled from other Sub-station has been proposed for road light supply, temporary connections etc. This transformer may be installed in open area at suitable location under temporary shed. All consumers around this Sub-station already have their own transformer.

(5)	Financial implications : Financial implications in the proposal is anticipated to be Rs. 2,84,14,000/- which includes the cost of  electrical work and civil work.

(6)	Implementation schedule: Six  months

(7)	Comments of the Finance Deptt. on the subject :

Finance Deptt. vide Dy. No. 2745/Finance/R-Elect. dated 11-12-09  have concurred in the  estimate  amounting to Rs. 2,84,14,000/- for establishing 11KV Electric Switching station  near Veeranwali Hospital, Chander Gupta Road,  Chanakyapuri, New Delhi subject to following :

(i)	Approval of the competent authority.

(ii)	Availability of funds.

(iii)	The work would be got executed after adhering to all codal provisions and CVC’s guidelines.

(iv)	Since design and scope of the work has altogether changed, department may ensure and certify that the project now conceived is technically sound and meet the future load requirement of the area.

(8)	Reply of the Deptt. on the Comments of the Finance  Deptt. :

- The approval of competent authority is being obtained.

- The funds have been made available in B.E. 2010-11.

- All codal provisions and guidelines of CVC have been adhered to.

- Certified that the project now conceived is technically sound and meet the future load requirement of the area.

(9)	Legal implication of the Project : - No legal implication is involved.

(10)	Details of previous Council Resolution :	NIL

(11)	Comments of  Law Deptt. :  	NIL

(12)	Comments of the Deptt. on the comments of Law Deptt. :

(13)	Certification by the Deptt. that all Central Vigilance Commission (CVC) guidelines have been followed : It is certified that all Central Vigilance Commission (CVC) guidelines have been followed in processing the case.

(14)	Recommendation of the Deptt. : The estimate amounting to Rs.2,84,14,000/- for establishing 11KV Electric Switching station  near Veeranwali Hospital, Chander Gupta Road,  Chanakyapuri, New Delhi  may be placed before the Council to accord administrative approval and expenditure sanction.

(15)	Draft Resolution : Resolved by the Council that Administrative approval and expenditure sanction is granted to the estimate amounting to Rs.2,84,14,000/- for establishing 11KV Electric Switching station  near Veeranwali Hospital, Chander Gupta Road,  Chanakyapuri, New Delhi.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the estimate amounting to Rs.2,84,14,000/- for establishing 11KV Electric Switching station  near Veeranwali Hospital, Chander Gupta Road,  Chanakyapuri, New Delhi.

It was also resolved that further action may be taken by the Department in anticipation of confirmation of the Minutes by the Council.