ITEM NO. 08 (B-30)

1.	NAME OF WORK:

Laying of 33KV, 3Cx400 mm2, XLPE Cable from 220/33KV ESS Harish Chandra Mathur Lane to various 33KV ESS’s.

2.	Name of the Department- ELECTRICITY DEPARTMENT

- Brief history of the proposals-

The Electric Sub-Station 220/33 KV at Harish Chandra Mathur Lane with transformation capacity 200 MVA (2x100 MVA) is to be established by M/S DTL in order to provide system reliability and strengthening of power network. Due to saturation limit of existing DTL 220/66 KV ESS at Park Street and closing of generating IP Sub-station and restricted evacuation of power demand from the sub-stations, it has become very essentials to establish 220/33KV Sub-stations in the NDMC areas by the DTL to meet the growing demand of power supply. Further, this plan is also considered under the Functional Plan 2021 to meet the load growth pattern of power supply in NDMC area.

Accordingly, it has been proposed to provide various feeders of 3CX400 mm2 for utilization of transformation capacity of the 220/33KV ESS. These emanating feeders will add more reliability and strengthening to the existing and new 33/11KV ESS to provide uninterrupted power supply to the VVIP area.

4.	Detailed proposal on the Project-

For providing smooth and uninterrupted power supply from the existing 220KV ESS Harish Chandra Mathur Lane following is being proposed: -

- Laying of 33KV, 400mm2/3C  XLPE Cable from 220/33KV ESS Harish Chandra Mathur Lane to 33/11KV ESS Vidyut Bhawan ……...…....3.0 Km.

- 33KV GIS panel with its C&R Board at ESS Vidyut Bhawan...........….1No.

- Laying of 33KV, 400mm2/3C  XLPE Cable from 220/33KV ESS Harish Chandra Mathur Lane to 33/11KV ESS Connaught Place…………..2.5Km.

- Laying of 33KV, 400mm2/3C  XLPE Cable from 220/33KV ESS Harish Chandra Mathur Lane to 33/11KV ESS Electric Lane……………..0.25 Km.

- 33KV GIS panel with its C&R Board at ESS Electric  Lane…..........….1No.

- Laying of 33KV, 400mm2/3C  XLPE Cable from 220/33KV ESS Harish Chandra Mathur Lane to 33/11KV  ESS Hanuman Lane …………..3.0 Km.

- Laying of 33KV, 400mm2/3C  XLPE Cable from 220/33KV ESS Harish Chandra Mathur Lane to 33/11KV  ESS Scindia House …….……..1.0 Km.

- Laying of 33KV, 400mm2/3C  XLPE Cable from 220/33KV ESS Harish Chandra Mathur Lane to 66/33KV  ESS School Lane ……….……..2.0 Km.

5.		Financial Implications-

An estimate amounting to Rs. 397.86 Lacs including 3% contingencies has been prepared to cover the cost of the above work.

The expenditure shall be chargeable to the Head of A/c E-4-1 under the Original works for which a budget provision of Rs. 198.93 Lacs has been kept in the RE 2010-11 and subsequently Rs. 198.93 Lacs in BE 2011-12.

- Implementation schedule with timeline for each stage including internal processing: -.

The scheme will be complete within 10 months after sanction of estimate &shall be executed departmentally / contract.

- Comments of the Finance Department on the subject:-

The Finance Deptt. has concurred the estimate vide diary No 2376/Finance/R-Elect  dated 08.11.2010 with  no further comments.

- Comments of the Department on comments of Finance Deptt:-

Nil

9.	Legal implications of the Project: -

No legal implication is involved.

10.	Details of Previous Council Resolution:-

Nil

11. 	Comments of the Law Deptt. on the Project:

Nil

12.  	 Comments of the Deptt. on the Law Deptt:

NIL

13	Certificate on CVC Guidelines:-

All CVC guidelines shall be adhered to while processing the case.

14.	Recommendation:-

The estimate amounting to Rs 397.86 Lacs for Laying of 33KV, 3Cx400 mm2, XLPE Cable from 220/33KV ESS Harish Chandra Mathur Lane to various 33KV ESS’s may be placed before the Council to accord Administrative Approval and Expenditure Sanction.

15.	Draft Resolution:-

Resolved by the Council that Administrative Approval & Expenditure Sanction is granted to the estimate amounting to Rs 397.86 Lacs for Laying of 33KV, 3Cx400 mm2, XLPE Cable from 220/33KV ESS Harish Chandra Mathur Lane to various 33KV ESS’s..

COUNCIL’S DECISION