ITEM NO. 03 (B-20)

(1) Name of the work :	New proposed HT feeds for  11 KV Electric Substations from  33 KV Electric Substation Connaught Place, New Delhi

(2) Name of the Department  :  Electricity

(3) Brief History of the case :

NDMC has awarded the work of establishing various 33 & 66 KV Sub-stations at various locations to M/s PGCIL.  The work at one of these Sub-stations namely; Sub-station 33 KV Connaught Place is on the verge of completion.  To utilize the transformer capacity being installed there, some 11 KV feeders have been proposed to be emanated from this Sub-station.

An estimate of outgoing 11KV cables to various substations from 33KV substation Connaught Place, which is being constructed, has been prepared and submitted to Finance Deptt. for concurrence.  Finance Deptt. in one of their observation have desired that the case may be sent to Advisor (Elect.)/Advisor (Power) for their comments to ascertain that the proposal of the Deptt. is technically sound.  Accordingly the case was sent to Advisor (Elect.)./Advisor (Power).  They have given some suggestions, which have been complied with and accordingly estimate has been framed.

(4)  Detailed proposal on the Project :

- 2 x 400 sq.mm 11 KV XLPE cable has been  from 33 KV Sub-station Connaught Place  to  Sub-station Electric Lane (New) via proposed 33 KV Sub-station Handloom Complex.

- 2 x 400 sq.mm 11 KV XLPE cable has been proposed from 33 KV Sub-station Connaught Place  to  existing Sub-station as inter-connector in S.S.G. Board.

- LILO of existing cable from Sub-station C-II Tilak Marg to Sub-station Bharat Hotel { which was to be dismantled against estimate No. E-18/2008 issued to E.E.(C-I) } at 33 KV Sub-station Mandi House, Sub-station Kanchanjunga building and Sub-station Office block (World Trade Tower.

This arrangement has been made to strengthen the existing 11 KV Electric Substations as well as give relief  to existing 33 KV Sub-stations.

(5)	Financial implications : Financial implications in the proposal is anticipated to be Rs.1,19,39,000/-.

(6)	Implementation schedule: Six months

(7)	Comments of the Finance Deptt. on the subject :

Finance Deptt. vide Dy. No. 2265/PS/FA/D-10 dated 22-9-2010  have concurred in the estimate with no further comments.

(8)	Comments of the Deptt. on the Comments of the Finance  Deptt. : NIL

(9)	Legal implication of the Project : - No legal implication is involved.

(10)	Details of previous Council Resolution :	NIL

(11)	Comments of  Law Deptt. :  	NIL

(12)	Comments of the Deptt. on the comments of Law Deptt.: NIL

(13)	Certification by the Deptt. that all Central Vigilance Commission (CVC) guidelines have been followed : It is certified that all Central Vigilance Commission (CVC) guidelines have been followed in processing the case.

(14)	Recommendation  : The estimate amounting to Rs.1,19,39,000/- for New proposed HT feeds for  11 KV Electric Substations from 33 KV Electric Substation Connaught Place, New Delhi may be placed before the Council to accord administrative approval and expenditure sanction.

(15)	Draft Resolution : Resolved by the Council that Administrative approval and expenditure sanction is granted to the estimate amounting to Rs.1,19,39,000/- for New proposed HT feeds for  11 KV Electric Substations from  33 KV Electric Substation Connaught Place, New Delhi.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the estimate amounting to Rs.1,19,39,000/- for New proposed HT feeds for  11 KV Electric Substations from  33 KV Electric Substation Connaught Place, New Delhi.