ITEM NO. 04 (B-21)

(1) Name of the work :	Construction of 11 KV Electric Switching-station near American Embassy School, Chanakya Puri, New Delhi.

(2) Name of the Department  :  Electricity

(3) Brief History of the case :

Keeping in view the growing load demand in NDMC area, Chairperson NDMC had written a letter dated 1-2-2001 to Minister of Urban Development. Govt. of India for allotment of 81 sites for establishing of E.S.S. at  220 KV, 66 KV,  33 KV & 11 KV voltage levels at various places in NDMC area.   A large number of new buildings are coming up for diplomatic missions and international organizations, spurt in constructional activities upgradation of markets and government colonies, hospitals as well as enhancement of air conditioning load in the existing buildings in NDMC area.

A plot for establishing 11 KV Electric Switching-station near American Embassy School, Chanakya Puri, New Delhi has been allotted by L&DO.  The drawing of the same has also been prepared by C.A., NDMC.  This proposed Sub-station would conceptually be a local distribution Sub-station as well as a switching station.

The plot is strategically located in  various Diplomatic Missions and institutions.  Recently some new buildings like; Embassy of Palestine, Embassy of Tanzania, Vivekanand Kendra, Afro-Asian organization, Kathak Dance Kendra etc. have already been built.  Some more buildings like; Embassy of Saudi Arabia, expansion of Thailand Embassy etc. are likely to come up soon.  Presently there is no other Sub-station in the vicinity of these Institutions/Embassies to feed power supply to them.  Beside this the other existing Sub-stations in Chanakyapuri like; Nehru Park, Bapu Dham, S.P.Marg are generally over loaded.  These are to be given relief by shifting some feeders to this proposed Sub-station.

(4)  Detailed proposal on the Project :

The sub-station shall have provision of 2x1000 KVA capacity with one no. H.T. Board having 9 nos. panels and following HT cables:-

- 2 x 400 sq.mm 11 KV XLPE cable has been proposed from 33 KV Sub-station Sanjay Gandhi Camp as incomer.

- 2 x 400 sq.mm 11 KV XLPE cable has been proposed from Switching-station Veeranwali .

The proposed oil type transformers shall be installed out of the transformers which would be spare after replacement/ augmentation of oil type transformer with dry type transformer.  50% cost of new transformer as indicative cost has been taken in this estimate on account of providing old dismantled transformer. The service cable for IEI of sub- station have been proposed from near by G.S. Pillar.

(5)	Financial implications : Financial implications in the proposal is anticipated to be Rs. 2,70,58,500/-(Electrical & Civil Work).

(6)	Implementation schedule: Eight months

(7)	Comments of the Finance Deptt. on the subject :

Finance Deptt. vide Dy. No. 1887/PS/FA/D-10 dated 11-8-10  have concurred in the estimate with no further comments.

(8)	Comments of the Deptt. on the Comments of the Finance  Deptt. : 	NIL

(9)	Legal implication of the Project : - No legal implication is involved.

(10)	Details of previous Council Resolution :	NIL

(11)	Comments of  Law Deptt. :  “No legal issue is involved in Draft  Agenda item proposed to be placed before the Council.  This has concurrence of the Law Deptt.”

(12)	Comments of the Deptt. on the comments of Law Deptt. :NIL

(13)	Certification by the Deptt. that all Central Vigilance Commission (CVC) guidelines have been followed : It is certified that all Central Vigilance Commission (CVC) guidelines have been followed in processing the case.

(14)	Recommendation  : The estimate amounting to Rs. 2,70,58,500/- for Construction of 11 KV Electric Switching-station near American Embassy School, Chanakya Puri, New Delhi may be placed before the Council to accord administrative approval and expenditure sanction.

(15)	Draft Resolution : Resolved by the Council that Administrative approval and expenditure sanction is granted to the estimate amounting to Rs. 2,70,58,500/- for Construction of 11 KV Electric Switching-station near American Embassy School, Chanakya Puri, New Delhi.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the estimate amounting to Rs.2,70,58,500/- for Construction of 11 KV Electric Switching-station near American Embassy School, Chanakya Puri, New Delhi.