ITEM NO. 08 (B-09)

(1)    Name of the Project: Estimate for Replacement of lifts at Mayur Bhawan.

(2)    Name of the Department    :    Electricity Department.

(3)    Brief History of the case:

Mayur Bhawan is an important municipal building and most of the floors are occupied by income tax department .This building was constructed in the year 1975. All the electrical services of the building was handed over to the CPWD department in the year 1991 for maintenance of various services including 4 nos lifts with its  operation as decided in the  meeting dated 18-07-1991 headed by Director of Income Tax (RSP&PR).  It was also decided in the meeting that maintenance and replacement work of the lifts shall be carried out by the CPWD and the total cost shall be born by NDMC. CPWD did not   incurred any expenditure even on any special repair/major overhauling work since the lifts were handed over to them i.e 1991 and due to this, these lifts deteriorated day by day.  Senior officials, staff and visitors of income tax department are using these lifts.  These lifts were installed in the same year in which the building was constructed and served its prescribed life of 20 years.

During the even number of visits of NDMC officers, it was observed that these lifts found neither in good operational position nor is maintained properly. A no of complaints have also received for the bad condition of lifts. The public also criticized the nonfunctioning of the lifts during their visits in the building. It was therefore decided that NDMC should take over the lifts from CPWD and initial immediate action for its replacement and future operation & maintenance. Accordingly, necessary approval of chairman was obtained.

(4)    Detailed proposal on the Project:

The existing out of 4 No’s otis make lifts Installed in the Mayur Bhawan, three lifts are of 13 persons/884 kg& one lift (VIP) is of 8 persons /544 kg.The new lifts proposed are of  category “A” and of same capacity having speed of 1.5 MPS as per norms. Accordingly an estimate for the new Lifts has been prepared with the specifications and features which includes steel car with panels in stainless steel in hairline finish, round shaped stainless steel handrail, having flooring of carpet design vinyl plates protected by center opening steel doors in stainless steel in hairline finish, automatic with VF door operator and electric door protection device. The estimate has been seen and concurred by the finance department.

(5)	Financial implications:

Financial implications in the proposal is anticipated to be Rs.1,35,16130.00.

(6)	Implementation schedule 	:	One year and Six months.

(7)	Comments of the Finance Deptt. on the subject  with diary No. & date :

Finance department Vide Dy.No. 752/Finance /R-Elect Dated 05-05-2011 have concurred in to the estimate with advice to ensure proper understanding under approval of competent authority in case the third party in Mayur Bhawan carries out the operation /maintenance of lifts or any other electrical installation.

(8)	Reply of the Deptt. On the Comments of the Finance Deptt. :

Keeping with the facts that Mayur Bhawan is NDMC own building & maintenance of various services including lifts is the responsibility of NDMC.  Approval in principle from chairperson has been obtained for replacement of lifts and for its future operation and maintenance of lifts, the case is being put up before the council for approval.

(9)	Legal implication of the Project: - No legal implication is involved.

(10)	Details of previous Council Resolution:	NIL

(11)	Comments of Law Deptt.:	NIL

(12)	Comments of the Deptt. on the comments of Law Deptt. :	NIL

(13)	Certification by the Deptt. That all Central Vigilance Commission (CVC) guidelines   have been followed: It is certified that all Central Vigilance Commission (CVC) guidelines have been followed in processing the case.

- Recommendation of the Deptt. :

The estimate amounting to Rs.1,35,16,130/- for Replacement of lifts at Mayur Bhawan may be placed before the Council to accord administrative approval and expenditure sanction.  The approval may also be accorded for future operation and maintenance of these lifts after its replacement.

- Draft Resolution:

Resolved by the Council that Administrative approval and expenditure    sanction is granted to the estimate amounting to Rs1,35,16,130/- for replacement of 4nos lifts at Mayur Bhawan. Further approval is also accorded for future operation and maintenance of these lifts after its replacement.

COUNCIL’S DECISION

Resolved by the Council to accord administrative approval and expenditure sanction to the estimate amounting to Rs1,35,16,130/- for replacement of 4nos. of lifts at Mayur Bhawan, subject to confirmation by the department that the proposed work is responsibility of NDMC and not of any other agency as per agreement signed by NDMC with the occupants of the building.

The Council also accorded approval for future operation and maintenance of these lifts after their replacement, by following all codal formalities.