ITEM NO. 19 (B-19)

- Name of the Work

Sub:- Special repair of A.C. Plant and modernization of lifts in Palika Kendra and Palika Parking.

Sub Head:- Replacement and Up gradation of 4 No. passenger lifts at Palika Parking, Cannaught Place, New Delhi.

- Name of the Department:-   Electricity Department

- Brief History of the Schedule:-

The existing 4 No. Passengers Lifts of OTIS make were installed in 1984 at Palika Parking and have outlived their prescribed useful life of 20 years. These lifts are lying defective/damaged since long and are beyond economical repairs.

During the inspection of Chairman and Secretary, NDMC, it was directed that all the passenger lifts be made operational at the earliest and Civil Engg. Department may ensure that there is no leakage/seepage of water in the lift shafts, machine rooms, pits to avoid damage to the lifts. The case was processed for sanction of the estimate for the replacement and up gradation of the lifts.

With reference to the observations of Finance Department and as directed by the Chairman, the site was inspected by the then C.E (C) along with C.E.(E) and other Engineers of Civil and Electrical Engineering Departments on 18.8.08. The water was found in lift pit and machine room of lift No. 1 whereas no water was found in the machine room of lift no. 2,3 and 4 and were found free from any leakage/ seepage of water. Remedial measures in r/o lift No.1 has been taken by the Civil Engineering Department to avoid surface/rainy water in lift pit and machine room in future.

The estimate amounting to Rs.67,09,000/- was prepared for the replacement of 4 no. passenger lifts.

- Detailed proposal on the subject:-

The existing 4 no. passenger lifts installed at Palika Parking are to be replaced with upgraded technology lifts.

- Financial Implementation of the proposal Schedule:-

Rs. 67,09,000/-

- Implementation schedule with time line:-

Work will be executed in one and half year after sanction of estimate.

- Comments of Finance Department:-

Finance Department have concurred in the estimate amounting to Rs.67,09,000/- vide their Dy.No. 2374/Finance/R-Elect dated. 29.9.08 subject to the following:-

  - Approval of the competent authority

  - Availability of funds.

  - The work would be done after adhering the codal provisions.

  - The minutes of the joint inspection be also placed on record dated 11.8.08.

  - Action as approved by Chairman was required to be taken by the deptt. Inspection note containing recommendations of the inspection team may be prepared and submitted to the Chairman.

- Comments of the department on the comments of the Finance department:-

  - Approval of the competent authority is being obtained.

  - Funds are available.

  - All the codal formalities shall be adhered.

  - The minute of the joint inspection carried out by the Engineers of  Civil & Electrical Departments is as under:-

Water was found in the lift pit and machine room of Lift No. 1. Regarding this, EE(Civil) informed that this is not sub soil water and has come from outside due to heavy  rains. CE(C) directed EE(C) to get the needful done so that no outside water flows in the lift /machine room due to any reason what so ever. Officers of Civil Engineering Deptt. informed that leakage in lift No. 1 is due to rain water for which a toe wall is required to be constructed for stoppage of rain water. Thereafter Civil Department constructed a toe wall near the gate of lift no. 1 and assured that there will be no leakage in lift No.1 also. Inspection note has been seen  by the Chairman on 17.10.08.

- Legal implication of the subject:-

No legal implication is involved.

- Details of previous Council’s resolution existing Law of Parliament:-

Nil

- Comments of Law Department on the Subject:-

No comments.

- Comments of the Deptt. on the Comments of the Law Department:-

N.A.

- Recommendation of Additional Chief Engineer (E-II):-

The estimate may be placed before the Council to accord administrative approval and expenditure sanction to the estimate amounting to rs. 67,09,000/- for the work of replacement and up gradation of 4 No. passenger lifts at Palika Parking, Cannaught Place, New Delhi.

- Certification by the deptt. of Central Vigilance Commission (CVC guideline have been followed while processing the case:-

All the CVC guidelines shall be adhered.

15. Draft Resolution

Resolved by the Council that Administrative Approval and Expenditure Sanction is granted to the estimate amounting to Rs. 67,09,000/-for Replacement and Up gradation of 4 No. passenger lifts at Palika Parking, Cannaught Place, New Delhi.

COUNCIL’S DECISION

Resolved by the Council to accord Administrative Approval and Expenditure Sanction to the estimate amounting to Rs.67,09,000/- for Replacement and upgradation of 4 No. passenger lifts at Palika Parking, Connaught Place, New Delhi.