ITEM NO. 4(B-4)

1.	Name of Work :- 	Supply, Installation, Testing and Commissioning

of HT & LT CT operated Micro Processor Based Trivector Electronic Meters of class 0.5 Accuracy.

2.	Name of the Deptt. :-	  Electricity Department.

3.	Brief History of the Proposal:-

A Sub-committee of officers was constituted by the Chairperson NDMC to make detailed recommendations for the type of Meters to be installed for different ratings of loads, to recommend short listing internationally reputed companies, estimates and NIT finalization etc. for energy meters. The Sub-committee had representatives of Finance, Commercial, Quality control and Electrical Engineering Departments of NDMC besides Department of Power, Govt. of NCT Delhi. The committee of officers after going through the necessary detailed concept papers, previous minutes of the meeting etc. and after due deliberations, recommended that only electronic energy meters of good quality and manufactured by internationally reputed companies may be provided for all categories of consumers in NDMC area. The above recommendations of the Sub-committee were approved by the Chairperson.

For supply and installation of HT and LT CT Operated Trivector Micro Processor based Electronic Energy Meters in NDMC area, following two estimates have been approved by the Council: -

1.	Estimate No. E-8/EE (M/N)/2000-01 amounting to Rs.46, 27,000/- having provision of Rs. 6,83,600/- for 90 Nos. HT/LT Trivector Micro Processor Based Electronic Energy Meters approved by the Council vide Resolution No. XXIV dated 17.05.01.

2.	Estimate No.E-11/EE (M/N)/2003-04 amounting to Rs.1, 44,87,154/- for 1300 Nos.  HT/LT Trivector Micro Processor Based Electronic Energy Meters approved by the Council vide Resolution No. 6 (B-4) dated 02.7.04.

4.	Detailed Proposal on the Subject:-

Tenders were invited in two cover system by giving due publicity. After following prescribed procedure for processing of tenders, M/s Secure Meters Pvt. Ltd. emerged as the lowest firm giving following cost implications and other terms and conditions: -

1.	HT, CT OPERATED ELECTRONIC METERS.

i)	Supply 				- Rs.4, 242/- x 60 = Rs. 2,54,520/=

ii)	Installation			- Rs.1, 234.64 x 60 =Rs.74, 078/-

2.	LT, CT OPERATED ELECTRONIC METERS.

i)	Supply				- Rs.4, 191.50 x 1330 = Rs.55, 74,695/-

ii)	Installation			- Rs.589.26 x 1330 = Rs.7, 83,715.20

Total (1 + 2)			- Rs. 66,87,009.20

- Say Rs.66, 87,009/-

- (Rupees Sixty-Six Lac Eighty Seven Thousand Nine only).

Other Terms and Conditions as under: -

1.	Excise Duty	- Nil

2.	CST	- 1% against Form-C on the negotiated rates.

3.	Freight & Insurance - Inclusive

4.	Service Tax - @ 12.24% (for installation only on the negotiated rates.)

5.	Date of Commencement – 10th day from the date of written order to commence work.

6.	Delivery -	Within two months.

7.	Place of Delivery – At our store, Vidyut Bhawan, Aurangzeb Road, New Delhi.

8.	Completion of work – Two months from the tenth day after the date of written order to commence work.

9.	Compensation for non-completion of work in time – 1% per week on the value of unexecuted portion of the order subject to maximum 10% of the unexecuted portion.

10.	Defects Liability Period – 5 (Five) years for the meters & 12 (twelve) months for the work from the date of completion of work.

11.	Mode of Payment  - i) 75% of the cost of the material supplied by the firm at stores would be paid after receipt of the material.

ii) 25% of the material’s cost would be paid to the supplier firm after successful installation, testing & commissioning of the meters at site.

iii) In respect of installation part, the payment would be paid to the firm after successful installation of the meters at site.

iv) Performance guarantee - @ 5% of the contract amount shall be furnished by the firm till expiry of the guarantee.

12.	Security Deposit – 10% of amount payable shall be deducted towards security deposit from all running payments as per clause 1 of the conditions of contract.

13.	Pre Dispatch Inspection – All acceptance tests and inspection shall be carried out at the place of manufacturer. The manufacturer shall offer the inspector representing the Purchaser all the reasonable facilities, free of charge, for inspection and testing, to satisfy him that the material is being supplied in accordance with this specification. The NDMC representative/Engineer attending the above testing will carry out testing on five meters and issue test certificate approval to the manufacturer and give clearance for dispatch. A soft copy of routine tests for entire lot of meter shall be submitted for giving dispatch clearance.

14.	Arbitration – In case of dispute, the arbitration shall be conduced in accordance with the provisions of the Arbitration and Conciliation Act, 1996 (26 of 1996) or any statutory modifications or re-enactment thereof and the rules made there under and for the time being in force shall apply to the arbitration proceeding under this clause (as per Clause 25 of NIT.

5.	Financial Implications 	- 	 Rs.66, 87,009/-

- (Rupees Sixty-Six Lac Eighty Seven Thousand Nine only).

Implementation Schedule  - Delivery within two months Completion of work – 2 months from 10th day after date of written order to commence work.

Comments of Finance – Finance has concurred in the proposal of the department to award work of supply & installation for HT & LT, CT operated Micro Processor Based Electronic Energy Meters to M/s Secure Meters Pvt. Ltd. at their negotiated rate of Rs.66, 87,009/-.

6.	Comments of the department on comments of finance:-

The observations of finance have been duly replied and complied with by the department before forwarding the case to council.

Legal Implications – No law point is involved in the case and the same has been confirmed by Legal Advisor.

7.	Comments of Law Department-

Law department has given its no objection to the proposal.

8.	Comments of department on comments of Law Department –

Since no Law point is involved in the case and Law department has given its no objection to the proposal the same is being put up to Chairperson/Council for approval.

9.	Recommendations

The department recommends to place order for supply, installation, testing and commissioning of HT & LT, CT Operated Micro Processor based Trivector Electronic Energy Meters, on M/s Secure Meters Pvt. Ltd. at their negotiated rate of Rs.66, 87,009/- (Rupees sixty six lac eighty seven thousand nine only) on the terms and conditions and specifications of NIT and other acceptable terms and conditions communicated to the firm.

COUNCIL’S DECISON

Resolved by the Council that the order for supply, installation, testing and commissioning of HT & LT, CT operated Micro Processor based Trivector Electronic Energy Meters be placed on M/s. Secure Meters Pvt. Ltd. at their negotiated rate of Rs.66,87,009/- on the terms and conditions and specifications of NIT and other acceptable terms and conditions communicated to the firm.